Section A, Rev. 1, 11/20/03
Apartment Entry Systems—AM192 & AM492—with speaker station & door release, 1–24 units


Engineers’ Specification

1.0 General

A.
The contractor shall provide and install all equipment, accessories and materials necessary for a complete operating system in accordance with the following specifications.

B.
The equipment furnished under this specification shall be the standard product of one manufacturer and shall be as manufactured by TekTone® Sound & Signal Mfg., Inc.

C.
The contractor shall guarantee availability of local service and available stock of the manufacturers’ standard parts.

D.
The contractor shall be responsible for providing a complete functional system including all necessary components, whether included in this specification or not.

1.1 System Operation

The apartment entry system shall operate as follows:

A.
The visitor, by depressing the appropriate room call button in the entry panel, shall sound a tone to the speaker remote in the apartment or office.

B.
The tenant or office may answer and converse with the caller by pressing the TALK and LISTEN buttons alternately, which shall be spring type to insure privacy.

C.
After acknowledging the visitor, the tenant shall press the DOOR button on the suite station, releasing the entrance door into the building.

1.2 Function Options

A.
Multiple entrances

B.
Postal release

Part 2—Equipment

2.1 Apartment
The suite station shall be an IR104C and have:

A.
Separate TALK, LISTEN, and DOOR spring-returned buttons.

B.
High impact ABS plastic faceplate.

C.
3.25" diameter speaker with voice frequency response.

D.
Screw terminals for wire termination, clearly labeled.

E.
Square head tamper-resistant mounting screws.

F.
Flush mount using specified ring or box.

2.1.1 Optional Stations

A.
LI404B flush-mount strobe (hearing impaired).

B.
IR204Csurface mount.

C.
IR207B 2-gang mount, ring or box.

D.
IR085A flush mount, 8.5" × 6.5" retrofit plate

E.
IR087 flush mount, 6.5" × 8.5" retrofit plate

2.2 Entrance Panel

The entrance panel shall be AM192/xx or AM492/xx (vandal) and have:

A.
Extruded aluminum construction.

B.
One (1) self-wiping button for each apartment.

C.
One (1) replaceable black name holder per button.

D.
One (1) 2.5" Mylar speaker.

2.2.1 Panel Options

A.
Expansion panels shall be added using AM190/12 and/or AM190/22 for standard panels and AM490/12 and/or AM190/22 for vandal panels.

B.
Panel mounting shall be OF190 series frame and OH190 series box. Surface mounting shall be OF190S series surface frame.

C.
For multiple entrances, use one PK502B relay per additional entrance.

D.
For postal release option, add the suffix “P” to the panel model number. (Note: addition of postal release reduces that panel’s button capacity by eight (8).

2.3 Amplifier

The system’s amplifier shall be PK543 and shall have:

A.
Separate controls for audio and call tone volume accessible from the front of the panel.

B.
Selectable AC or DC voltage supply for door release.

C.
Selectable delayed door timing of 10 or 20 seconds.

D.
Selectable steady or warble call tone.

E.
Fifteen (15) pin plug-in connector.

F.
Shall be UL 813 listed.

2.4 Door Strike

Shall be PO001 for standard duty mortise-type installation operating on 16 VAC.

2.5 Transformer

Shall be SS102A (hard-wired) or SS105B (plug-in), 16 VAC, 10 VA and shall be UL approved.

Part 3—Wiring

System wiring shall be four (4) wires consisting of three (3) common conductors and one (1) selective conductor per suite. Wiring shall be in strict accordance with TekTone® IL487 wiring diagram (and IL499 when using the PK502B dual entrance relay).

Part 4—Warranty

Each piece of equipment shall be0 warranted by the equipment manufacturer to be free of defects in material and workmanship for a period of twelve (12) months from the date of shipment from the factory.

Part 5—Shop Drawings

The electrical contractor shall submit shop drawings to the electrical engineer for approval. The contractor must have approved shop drawings in his possession prior to installation.

Website Disclaimer and Legal Notice for downloadable 
Architects & Engineers Specifications

The specifications attached herein are being supplied in a text format for your convenience. TekTone® Sound & Signal Mfg., Inc. is not responsible for any changes made to the original documents.

As with any other TekTone® Sound & Signal Mfg., Inc. document, please be advised that the information was prepared by TekTone® Sound & Signal Mfg., Inc. as general information and a service to our customers. While we endeavor to supply accurate information, we can take no responsibility for errors or misinterpretations in any of the content of this site. We also reserve the right to remove or change literature and pages from this site where legal requirements are contravened or where complaints are received and upheld.

Except in the case of third-party material reproduced on this site, the information and all content, including logos and artwork, provided herein is protected under the U.S. and Foreign Copyright Laws and may not be copied, reproduced or retransmitted by any means, electronically or otherwise, without the express written permission of TekTone® Sound & Signal Mfg., Inc.

Modifications. All modified specifications will include the following ledger: Modified specifications are based upon TekTone® Sound & Signal Mfg., Inc. product specifications. Modified specifications have not been reviewed or approved by TekTone® Sound & Signal Mfg., Inc., unless so noted.

Indemnification. It is agreed that TekTone® will be held harmless from any claims, causes of action, pending or threatened, losses, awards, damages or attorney’s fees arising out of any suit or claim relating to the use and/or modification of the specifications.

Reservation of Rights. This disclosure is not intended, nor shall it be construed, to release any right, title or interest in any name, trademark, trade name, advertising slogan, specification, or confidential information, but is solely intended to provide a revocable license to use the specification material for the contemplated use.

Project:
11/21/03
Section A - 1

