Section A, Rev. 1, 11/20/03
Apartment Entry Systems—AM193 & AM493—with handset remote & door release, 1–24 units


Engineers’ Specification

1.0 General

A.
The contractor shall provide and install all equipment, accessories and materials necessary for a complete operating system in accordance with the following specifications.

B.
The equipment furnished under this specification shall be the standard product of one manufacturer and shall be as manufactured by TekTone® Sound & Signal Mfg., Inc.

C.
The contractor shall guarantee availability of local service and available stock of the manufacturers standard parts.

D.
The contractor shall be responsible for providing a complete functional system including all necessary components, whether included in this specification or not.

1.1 Systems Operation

The apartment entry system shall operate as follows:

A.
The visitor, by depressing the appropriate room call button on the entry panel, shall sound a tone to the handset remote in the apartment or office.

B.
The tenant or office, by picking up the phone, shall carry on two-way communication with the visitor. Talk/Listen button(s) shall be unacceptable.

C.
After acknowledging the visitor, the tenant shall press the door release button on the handset releasing the entrance door into the building.

1.2 Function Options

A.
Multiple entrances
B.
Postal Release
Part 2—Equipment

2.1 Apartment
The suite station shall be a TA205B handset and have:

A.
Dynamic speaker/microphone.

B.
Duplex communication. The use of talk/listen button(s) shall not be acceptable. 

C.
Plug in handset.

D.
Door release button in handset.

E.
Be constructed of ABS plastic with mechanical hook switch.

F.
Mount on single gang ring or box.

2.2 Entrance Panel

The entrance panel shall be AM193 or AM493 (vandal) and have:

A.
Extruded aluminum construction

B.
One (1) self-wiping button for each apartment.

C.
One (1) 2.5" Mylar speaker

D.
One (1) 1.75" Mylar speaker (mic)

E.
One (1) replaceable black name holder per button.

2.3 Amplifier
The amplifier/power pack shall be PK205 and have:

A.
Separate controls for audio and call tone volume accessible from the front of the panel.

B.
Screw terminals for wire terminations

C.
Rugged extruded aluminum housing

2.4 Door Strike

The door strike shall be PO001 for standard duty mortise type installation, and operate on 16VAC.

2.5 Transformer
The transformer shall be SS102A (hard-wire) or SS105B (plug-in), 16VAC, 10VA and be UL listed.

Part 3—Wiring

System wiring shall be five (5) wires consisting of four (4) common conductors and one (1) selective conductor per suite. Wiring shall be in strict accord with TekTone IL418 wiring diagram (and IL 499 when using the PK502B dual entrance relay.)

Part 4—Warranty

Each piece of equipment shall be warranted by the equipment manufacturer to be free of defects in material and workmanship for a period of twelve (12) months from the date of shipment from the factory.

Part 5—Shop Drawings

The electrical contractor shall submit shop drawings to the electrical engineer for approval. The contractor must have approved shop drawings in his possession prior to installation.
Website Disclaimer and Legal Notice for downloadable 
Architects & Engineers Specifications

The specifications attached herein are being supplied in a text format for your convenience. TekTone® Sound & Signal Mfg., Inc. is not responsible for any changes made to the original documents.

As with any other TekTone® Sound & Signal Mfg., Inc. document, please be advised that the information was prepared by TekTone® Sound & Signal Mfg., Inc. as general information and a service to our customers. While we endeavor to supply accurate information, we can take no responsibility for errors or misinterpretations in any of the content of this site. We also reserve the right to remove or change literature and pages from this site where legal requirements are contravened or where complaints are received and upheld.

Except in the case of third-party material reproduced on this site, the information and all content, including logos and artwork, provided herein is protected under the U.S. and Foreign Copyright Laws and may not be copied, reproduced or retransmitted by any means, electronically or otherwise, without the express written permission of TekTone® Sound & Signal Mfg., Inc.

Modifications. All modified specifications will include the following ledger: Modified specifications are based upon TekTone® Sound & Signal Mfg., Inc. product specifications. Modified specifications have not been reviewed or approved by TekTone® Sound & Signal Mfg., Inc., unless so noted.

Indemnification. It is agreed that TekTone® will be held harmless from any claims, causes of action, pending or threatened, losses, awards, damages or attorney’s fees arising out of any suit or claim relating to the use and/or modification of the specifications.

Reservation of Rights. This disclosure is not intended, nor shall it be construed, to release any right, title or interest in any name, trademark, trade name, advertising slogan, specification, or confidential information, but is solely intended to provide a revocable license to use the specification material for the contemplated use.

Project:
11/21/03
Section A - 1

